## Slide 1: Emerging Topics: Disaggregated Datacenters
Reuben Rappaport

## Slide 2
INTRODUCTION

## Slide 3: Traditional Datacenters
Traditional datacenters feature a server-centric design
Each server consists of a set of resources (NIC, Compute, Storage) bundled together
Tasks are scheduled in a fairly course grained manner by allocating machines

## Slide 4: Disaggregated Datacenters
Resources are split apart into separate blades each of which contains only one resource type
These blades are networked together by a high bandwidth interconnect
Can be set up at multiple different scales
  Rack scale disaggregation
  Datacenter scale disaggregation

## Slide 5: Advantages to Disaggregation
CPU and memory technologies exhibit significantly different trends
  Decoupling the two makes it easier to evolve the technologies separately
Fine grained scheduling for each resource separately
  Can exactly match a job’s requirements with no overprovisioning

## Slide 6
NETWORK REQUIREMENTS

## Slide 7: Introduction
Disaggregating CPU from memory introduces network latency into every single memory access
Due to this, DDC prototypes have mostly relied upon extremely low latency next generation interconnects
  Unfortunately these new technologies are both proprietary and expensive
Are these technologies actually necessary for a DDC to function?

## Slide 8: Prior Work
Lim et al explore the implications of the different trends for memory capacity and compute
  The growing difference between the two is causing a “memory capacity wall” which fundamentally limits colocated CPU and memory setups
Several different authors (FireBox, Theia, R2C2) propose radical network redesigns with new technologies or topologies to support DDC traffic
  None of these papers actually evaluate the network requirements for DDC to work

## Slide 9: Prior Work
Many recent authors look at reducing network latency by bypassing the kernel stack
  RDMA does this in hardware
  We read a paper (IX) earlier in the course looking at doing this with a user level network stack inspired by the techniques used for dedicated network devices

## Slide 10: Technical Contributions
This paper aims to provide a solid answer to the question “what are the minimum network requirements for a DDC architecture to be feasible”
To do this the authors run a set of simulations on existing applications and analyze the results

## Slide 11: DDC Design Assumptions
CPU blades retain some local memory
Cache coherence domain is limited to a single compute blade
All resources are virtualizable
VMs can be provisioned with resources from across the scope of disaggregation
Each rack hosts a mix of resources
CPU blades access remote memory at the page level

## Slide 12: Design Knobs
Given the previous assumptions the paper evaluates tweaking two main design knobs
The amount of local memory on each compute blade
The scope of disaggregation

## Slide 13: Evaluation Setup
The authors evaluate the performance degradation suffered by existing applications run on a DDC

## Slide 14: Evaluation Setup
To simulate DDC behavior the authors partition physical memory into a small “local” section and a “remote” section
They limit the applications to only accessing the “local” section and intercept page faults with a special swap device backed by the “remote” memory
To simulate the network they inject artificial delays into each “remote” access

## Slide 15: Results

## Slide 16: Results
By varying the latency / bandwidth configurations the authors find two main classes of network requirements

## Slide 17: Sensitivity Analysis

## Slide 18: Predicting Requirements

## Slide 19: Meeting These Requirements
Achieving 100 Gbps bandwidth is reasonable
Hitting latency is much more difficult
Doing it requires RDMA + NIC integration

## Slide 20: Getting Congestion Data
Remote Memory Access Trace
Network Flow Model
Split up Compute and Memory to simulate DDC
The analysis so far completely neglected queuing delays due to congestion
To look at this the authors extend their experimental setup to generate a network log and then evaluate the impact of congestion

## Slide 21: Congestion Evaluation Setup
The authors evaluate five different protocols on the flow data
  TCP
  DCTCP
  pFabric
  pHost
  Fastpass

## Slide 22: Results
Both pFabric and pHost obtain close to optimal slowdowns
Performance is worst on Wordcount which has very high congestion

## Slide 23: Results
Finally the authors redid the original simulation with pFabric congestion factored in

## Slide 24: Conclusions
Overall the authors find the following
  DDC requires bandwidth and latency
  The primary factor standing in the way of achieving this latency is software overhead in the kernel stack
  Standard transport protocols (TCP) don’t handle DDC congestion well but recent proposals like pFabric do fine

## Slide 25: Limitations
The paper evaluates requirements for a fairly large number of applications (10) but it’s not necessarily clear that the results generalize
The paper tries to simulate a system that doesn’t yet exist which is fundamentally an error prone process
  This requires making a litany of assumptions about the DDC’s design
  The paper only explores two design knobs out of many possible ones

## Slide 26: Future Directions
Exploring techniques to reduce the latency of the network stack is key to building a DDC
  RDMA is promising but requires specialized hardware
  IX might have the right idea with its user level stack
We’ll be able to get a much better idea of network requirements if we actually build a DDC prototype instead of just simulating one

## Slide 27
STORAGE DISAGGREGATION

## Slide 28: Introduction
Servers today are often equipped with flash cards
Capable of 100Ks of IOPs
  To support dynamic load massively overprovisioned
This paper looks at disaggregating these flash resources

## Slide 29: Prior Work
Disaggregating disk storage is well known since network latency is tiny compared to disk latency
  Petal, Parallax, and Blizzard all present systems for this
Some authors (CORFU, FAWN) propose disaggregating flash as a distributed shared pool instead of as a traditional block device

## Slide 30: Traditional Architecture

## Slide 31: Disaggregated Architecture

## Slide 32: Tuning iSCSI
The iSCSI protocol is far too heavyweight for this application
The authors had to apply significant tuning to get reasonable performance out of it
  They ran multiple processes, turned on TSO and LSO offloads, turned on jumbo frames, and manually assigned IRQ affinity to improve the setup

## Slide 33: Evaluation
The authors looked at the performance of the rocksdb keystore wrapped in an ssdb interface
They used the mutilate load generator tuned to replicate Facebook workload data

## Slide 34: Results
Overall the authors saw about a 20% performance degradation in the remote setup
This was not as bad at the tail

## Slide 35: Sensitivity Analysis
Neither CPU intensity nor percentage of write requests saw significant differences between the local and remote cases

## Slide 36: Multitenant Scenario
In the multitenant scenario (left 2 tenants, right 3 tenants) average performance degradation is the same but the tail sees much worse degradation

## Slide 37: Analysis
The authors finish up the paper by developing a cost model for disaggregated vs local flash storage and plugging in some numbers

## Slide 38: Analysis
Disaggregating flash will save costs when compute and storage scale differently
They plot the cost savings by varying these two parameters

## Slide 39: Limitations
A major limitation of this work is the need to rely on the iSCSI protocol for the block store interface
  Generally when you have to do that much tuning to get reasonable performance it’s a sign that your protocol is not the right choice
20% performance degradation is pretty serious even if you scale up your flash servers to compensate
  Can this setup still handle the maximum dynamic load?

## Slide 40: Future Directions
Just like with the other paper, exploring techniques to reduce network latency is essential
  Is iSCSI really the right choice? Are there any lighter weight protocols we can use?
If we disaggregate flash we’ll need to assign datastore servers to flash servers
  Can we apply existing resource allocation work?